# APD External Data Sources Reference

Complete reference of all external data sources used in the Asset Performance Dashboard.
For developers building the production application.

Asset: Northwold Solar Farm BESS (4.2 MW / 8.4 MWh)

Prepared by: Ankit Agarwal — GM Product & Technology, Ampyr Energy Tech Solutions

Date: 30 March 2026

Classification: Internal / Developer Reference

# 1. Modo Energy — GB BESS Revenue Benchmarks

| Field | Details |
| --- | --- |
| Source | Modo Energy GB BESS Index (monthly research reports) |
| Access | Free research articles on modoenergy.com (login required for full data platform) |
| Update Frequency | Monthly (published ~2nd week of following month) |
| Extraction Method | Manual — read monthly benchmark article, extract headline GBP/MW/year figure |

## Variables Used

| Variable | Code Location | Type | Unit | Description | How to Extract |
| --- | --- | --- | --- | --- | --- |
| MODO_BENCHMARKS[month] | streamlit_dashboard.py:3241 | Dict | GBP/MW/year | Annualised monthly revenue benchmark across all GB BESS assets | Read headline figure from each monthly Modo benchmark article. Formula: (total revenue for all tracked GB batteries / total MW) x (365 / days in month) |

## Current Hardcoded Values

| Month | Value (GBP/MW/yr) | Source |
| --- | --- | --- |
| Sep 25 | 70,000 | Modo Energy monthly benchmark (Sep 2025 report) |
| Oct 25 | 77,000 | Modo Energy monthly benchmark (Oct 2025 report) |
| Nov 25 | 59,000 | Modo Energy monthly benchmark (Nov 2025 report) |
| Dec 25 | 47,000 | Modo Energy monthly benchmark (Dec 2025 report) |
| Jan 26 | 88,000 | Modo Energy monthly benchmark (Jan 2026 report) |

## Industry Range (used in benchmark chart)

| Variable | Value | Unit | Description |
| --- | --- | --- | --- |
| Industry Low | 36,000 | GBP/MW/year | Lowest monthly benchmark observed (2024-2025) |
| Industry High | 88,000 | GBP/MW/year | Highest monthly benchmark observed (2024-2025) |

## Source Links

| Report | URL | Key Data Point |
| --- | --- | --- |
| 2024 Year in Review | modoenergy.com/research/gb-battery-energy-storage-markets-2024-year-in-review-... | Annual revenue stack trends, market evolution |
| December 2024 Benchmark | modoenergy.com/research/battery-energy-storage-revenues-december-benchmark-gb-2024-... | GBP 84k/MW/year — highest since Jan 2023 |
| January 2025 Roundup | modoenergy.com/research/gb-research-roundup-january-2025-... | GBP 88k/MW/year benchmark |
| June 2025 Benchmark | modoenergy.com/research/battery-energy-storage-revenues-gb-benchmark-june-2025-... | GBP 76k/MW/year; 66 hours negative pricing |
| TB Spread Benchmark | modoenergy.com/research/top-bottom-spread-revenue-benchmark-... | 142% TB2 capture rate for 2-hr batteries |

Note: Modo Energy pages are JavaScript-rendered (Next.js). For production, either manually extract values monthly or explore Modo's paid API/data platform.

# 2. Modo Energy — TB Spread Benchmark (142%)

| Field | Details |
| --- | --- |
| Source | Modo Energy: "Benchmarking European battery revenue with TB spreads" |
| Access | Free research article |
| Update Frequency | One-off study (referenced as industry standard) |
| Extraction Method | Manual — single benchmark value from the article |

## Variables Used

| Variable | Code Location | Type | Unit | Description | How to Extract |
| --- | --- | --- | --- | --- | --- |
| TB2 Capture Benchmark | streamlit_dashboard.py:3969 | Constant | % | Industry benchmark: well-operated 2-hr batteries capture ~142% of TB2 spread | From Modo article — analysed revenues from GB BESS assets |
| TB1 | streamlit_dashboard.py:344-406 | Calculated | GBP/MWh | Highest hourly price - lowest hourly price per day | Calculated internally from EPEX DA prices in Master CSV |
| TB2 | streamlit_dashboard.py:344-406 | Calculated | GBP/MWh | Sum of 2 highest - sum of 2 lowest hourly prices per day | Calculated internally from EPEX DA prices in Master CSV |
| TB3 | streamlit_dashboard.py:344-406 | Calculated | GBP/MWh | Sum of 3 highest - sum of 3 lowest hourly prices per day | Calculated internally from EPEX DA prices in Master CSV |

## How TB Capture > 100% Is Possible

Batteries earn more than TB spread alone because of:

Intraday optimisation — capturing price spikes in real-time markets (IDA1, IDC)

Multiple cycles per day — cycling more than once when spreads allow

Ancillary services — stacking SFFR frequency response revenue on top of arbitrage

## Dashboard Interpretation Thresholds

| TB2 Capture Rate | Interpretation |
| --- | --- |
| >= 142% | At or above industry benchmark (excellent) |
| 100-142% | Capturing spread but below benchmark (room for improvement) |
| 60-80% | Significant room for improvement in market participation |
| < 60% | Major underperformance |

# 3. Capacity Market — EMR Settlement (T062)

| Field | Details |
| --- | --- |
| Source | Electricity Settlements Company (ESC) — EMR Settlement system |
| Access | T062 settlement CSV files (emailed to registered parties or via EMR portal) |
| Update Frequency | Monthly (settlement runs ~3 months in arrears for final settlement) |
| Extraction Method | Download T062 CSV -> filter by contract CAN-2025-NSFL01-001 -> sum monthly payment |

## Variables Used

| Variable | Code Location | Type | Unit | Description | How to Extract |
| --- | --- | --- | --- | --- | --- |
| CM_ACTUALS[month] | streamlit_dashboard.py:3248 | Dict (month -> GBP) | GBP | Monthly Capacity Market payment | From T062 CSV: filter contract CAN-2025-NSFL01-001, sum Payment Amount for month |

## Contract Details

| Parameter | Value |
| --- | --- |
| Contract ID | CAN-2025-NSFL01-001 |
| Asset | Northwold Solar Farm Ltd |
| Capacity Obligation | 1.023 MW |
| Auction Price | ~GBP 20,000/MW/year |
| Payment | Monthly with seasonal weighting (winter months higher) |

## Current Hardcoded Values

| Month | CM Payment (GBP) | Source File |
| --- | --- | --- |
| Oct 25 | 1,704.17 | NORTHWO_*_T062.csv |
| Nov 25 | 1,884.42 | NORTHWO_*_T062.csv |
| Dec 25 | 1,994.84 | NORTHWO_*_T062.csv |
| Jan 26 | 2,113.87 | NORTHWO_*_T062.csv |

Raw Files: Located in raw/New/ directory. Pattern: NORTHWO_*_T062.csv. Key columns: Contract ID, Settlement Period, Payment Amount, Obligation MW.

# 4. DUoS — Distribution Use of System (Hartree Partners)

| Field | Details |
| --- | --- |
| Source | Hartree Partners Supply (UK) — generator invoices (passthrough credits from UKPN) |
| Access | PDF invoices emailed from Hartree Partners |
| Update Frequency | Monthly (invoices arrive ~6-8 weeks after delivery month) |
| Extraction Method | Manual — open Hartree Gen_Inv PDF, extract Red/Amber/Green GDuos credit line items and DNO fixed charges |

## Variables Used

| Variable | Code Location | Unit | Description | How to Extract |
| --- | --- | --- | --- | --- |
| DUOS_ACTUALS[month]['red'] | streamlit_dashboard.py:3256 | GBP | Red band GDuos export credit (highest value, winter peak) | Hartree invoice: "GDuos Red" line (negative = credit) |
| DUOS_ACTUALS[month]['amber'] | streamlit_dashboard.py:3256 | GBP | Amber band GDuos export credit | Hartree invoice: "GDuos Amber" line item |
| DUOS_ACTUALS[month]['green'] | streamlit_dashboard.py:3256 | GBP | Green band GDuos export credit | Hartree invoice: "GDuos Green" line item |
| DUOS_ACTUALS[month]['fixed'] | streamlit_dashboard.py:3256 | GBP | DNO fixed network charges (cost) | Hartree invoice: "Fixed Charges" / "DNO Standing Charge" |
| DUOS_ACTUALS[month]['net_credit'] | streamlit_dashboard.py:3256 | GBP | Net DUoS = ¦Red¦ + ¦Amber¦ + ¦Green¦ | Calculated: abs(red) + abs(amber) + abs(green) |

## Current Hardcoded Values

| Month | Red (GBP) | Amber (GBP) | Green (GBP) | Fixed (GBP) | Net Credit (GBP) |
| --- | --- | --- | --- | --- | --- |
| Sep 25 | -322.81 | -410.03 | -43.94 | 3.58 | 773.20 |
| Oct 25 | -5,500.11 | -268.35 | -42.92 | 3.70 | 5,807.68 |
| Nov 25 | -5,379.73 | -106.41 | -42.54 | 3.58 | 5,525.10 |

Raw Files: Pattern: NWOSFL_Hartree*_Gen_Inv_*.pdf in raw/New/OneDrive_3*/ and OneDrive_4*/. Negative values = credit to generator.

# 5. IAR — Investment Appraisal Report

| Field | Details |
| --- | --- |
| Source | Internal financial model (Ampyr) |
| Access | extra/Northwold BESS Revenue_IAR.xlsx |
| Update Frequency | Static (set at investment decision, not updated) |
| Extraction Method | Read Excel Sheet1, rows 4-11, columns 11-15 (Sep-Jan), multiply by 4.2 MW |

## Variables Used (Excel Row Mapping)

| Excel Row | Revenue Stream | Unit | Description |
| --- | --- | --- | --- |
| Row 4 | Day Ahead (DA) | GBP/MW/month | Day Ahead projected revenue per MW |
| Row 5 | Intraday (ID) | GBP/MW/month | Intraday projected revenue per MW |
| Row 6 | Balancing Mechanism (BM) | GBP/MW/month | BM projected revenue per MW |
| Row 7 | Frequency Response (FR) | GBP/MW/month | FR projected revenue per MW |
| Row 8 | Capacity Market (CM) | GBP/MW/month | CM projected revenue per MW |
| Row 9 | DUoS Battery | GBP/MW/month | DUoS battery credit projection per MW |
| Row 10 | DUoS Fixed | GBP/MW/month | DUoS fixed charges projection per MW |
| Row 11 | TNUoS | GBP/MW/month | Transmission Use of System projection per MW |

## Column Mapping (Excel columns to months)

| Excel Column | Month |
| --- | --- |
| 11 | Sep 25 |
| 12 | Oct 25 |
| 13 | Nov 25 |
| 14 | Dec 25 |
| 15 | Jan 26 |

Scaling: IAR values are per MW per month. Multiplied by 4.2 MW (Northwold capacity). Indexation factor: 1.073.

# 6. NREL — Battery Degradation Benchmarks

| Field | Details |
| --- | --- |
| Source | NREL (National Renewable Energy Laboratory) |
| Document | "Grid-Scale Battery Storage: Frequently Asked Questions" (2022) |
| Access | Public PDF: https://www.nrel.gov/docs/fy22osti/80688.pdf |
| Update Frequency | Static reference document |
| Extraction Method | Manual — degradation ranges from battery cycle life section |
| Local Copy | docs/external_sources/NREL_Battery_Degradation_fy22osti-80688.pdf |

## Variables Used

| Variable | Code Location | Value | Unit | Description |
| --- | --- | --- | --- | --- |
| Degradation Low | streamlit_dashboard.py:3490 | 4.0% | %/year | High-quality cells, conservative operation |
| Degradation Mid | streamlit_dashboard.py:3491 | 4.4% | %/year | Typical lithium-ion |
| Degradation High | streamlit_dashboard.py:3492 | 11.0% | %/year | Aggressive cycling, poor thermal management |
| WARRANTY_DEGRADATION_ANNUAL_PCT | streamlit_dashboard.py:1044 | 2.5% | %/year | Annual degradation at warranty cycle limit |
| 80% SOH threshold | streamlit_dashboard.py:1340 | 80% | % | End-of-life threshold |

Derived calculations: Degradation per cycle = WARRANTY_DEGRADATION_ANNUAL_PCT / 365. Annual degradation = actual annual cycles x degradation per cycle. Years to 80% SOH = 20% / annual degradation rate.

# 7. National Grid ESO — Availability Benchmarks (TWCAA)

| Field | Details |
| --- | --- |
| Source | National Grid ESO — Transmission Performance Reports |
| Access | nationalgrideso.com/research-and-publications/transmission-performance-reports |
| Update Frequency | Quarterly |
| Extraction Method | Manual — read quarterly reports for BESS availability metrics |
| Status | Northwold TWCAA data TBD — requires ESO reporting data |

## Variables Used

| Variable | Code Location | Value | Unit | Description |
| --- | --- | --- | --- | --- |
| Availability Low | streamlit_dashboard.py:3510 | 90% | % | Significant downtime |
| Availability Mid | streamlit_dashboard.py:3511 | 94.4% | % | Typical BESS performance |
| Availability High | streamlit_dashboard.py:3512 | 98% | % | Excellent availability |

# 8. DNV GL — Round-Trip Efficiency Benchmarks

| Field | Details |
| --- | --- |
| Source | DNV GL — Energy Storage Performance Standards |
| Access | Industry standard reference (from DNV technical publications) |
| Update Frequency | Static industry reference |
| Extraction Method | Manual — from DNV energy storage performance standards documentation |

## Variables Used

| Variable | Code Location | Value | Unit | Description |
| --- | --- | --- | --- | --- |
| RTE Low | streamlit_dashboard.py:3530 | 82% | % | Older systems, poor conditions |
| RTE Mid | streamlit_dashboard.py:3531 | 85% | % | Typical Li-ion NMC/LFP |
| RTE High | streamlit_dashboard.py:3532 | 90% | % | Optimised operation |
| EFF_ROUND_TRIP | src/config/asset_config.py:21 | 87% | % | Northwold design RTE (used in optimisation) |

# 9. OEM Warranty — Cycle Limits

| Field | Details |
| --- | --- |
| Source | Northwold Storage Asset Optimisation Agreement (contract) |
| Access | Internal contract document |
| Update Frequency | Static (contractual) |
| Extraction Method | From contract terms |

## Variables Used

| Variable | Code Location | Value | Unit | Description |
| --- | --- | --- | --- | --- |
| CYCLES_PER_DAY | src/config/asset_config.py:31 | 1.5 | cycles/day | Maximum daily cycles under warranty |
| MAX_DAILY_THROUGHPUT_MWH | src/config/asset_config.py:32 | 12.6 | MWh | = 8.4 MWh x 1.5 cycles |
| Annual cycle limit (derived) | streamlit_dashboard.py:1066 | 547 | cycles/year | = 1.5 x 365 |

# 10. Asset Physical Parameters (from Optimisation Agreement)

| Variable | Code Location | Value | Unit | Description |
| --- | --- | --- | --- | --- |
| P_IMP_MAX_MW | src/config/asset_config.py:14 | 4.2 | MW | Max charge rate |
| P_EXP_MAX_MW | src/config/asset_config.py:15 | 7.5 | MW | Max discharge rate |
| CAPACITY_MWH | src/config/asset_config.py:18 | 8.4 | MWh | Usable energy capacity |
| EFF_ROUND_TRIP | src/config/asset_config.py:21 | 0.87 | ratio | Round-trip efficiency (87%) |
| SOC_MIN_PCT | src/config/asset_config.py:24 | 5% | % | Min state of charge |
| SOC_MAX_PCT | src/config/asset_config.py:25 | 95% | % | Max state of charge |
| OWNER_SHARE | src/config/asset_config.py:39 | 95% | % | Owner revenue share |
| AGGREGATOR_SHARE | src/config/asset_config.py:40 | 5% | % | GridBeyond revenue share |

# Summary: Data Update Workflow for Production

| Source | Frequency | Current Method | Automation Potential | Priority |
| --- | --- | --- | --- | --- |
| Modo Energy Benchmark | Monthly | Manual — read article, extract GBP/MW/yr | Low (JS-rendered site, no public API). Explore Modo paid data platform | High |
| CM (EMR T062) | Monthly | Download CSV from EMR portal, filter by contract | Medium — automate CSV download + parsing | High |
| DUoS (Hartree) | Monthly | Read PDF invoice, extract line items | Medium — PDF parsing with OCR/tabula possible | High |
| IAR Projections | Static | One-time Excel read | High — already automated in code | Done |
| GridBeyond Revenue | Monthly | Process backing data spreadsheet | High — structured Excel -> CSV pipeline exists | High |
| NREL Degradation | Static | Reference values | N/A — hardcoded constants | Done |
| National Grid ESO | Quarterly | Read performance report | Low — manual quarterly review | Low |
| DNV GL RTE | Static | Reference values | N/A — hardcoded constants | Done |
| OEM Warranty | Static | Contract terms | N/A — hardcoded constants | Done |

# Downloaded Reference Files

All files saved in docs/external_sources/

| File | Source | Size | Format | Notes |
| --- | --- | --- | --- | --- |
| NREL_Battery_Degradation_fy22osti-80688.pdf | NREL | 3.6 MB | PDF | Full document, readable |
| Modo_2024_Year_in_Review.html | Modo Energy | 647 KB | HTML | JS-rendered — open URL in browser |
| Modo_Dec2024_Benchmark.html | Modo Energy | 648 KB | HTML | JS-rendered — open URL in browser |
| Modo_Jan2025_Roundup.html | Modo Energy | 659 KB | HTML | JS-rendered — open URL in browser |
| Modo_Jun2025_Benchmark.html | Modo Energy | 654 KB | HTML | JS-rendered — open URL in browser |
| Modo_TB_Spread_Benchmark.html | Modo Energy | 640 KB | HTML | JS-rendered — open URL in browser |

--- End of Document ---

Ampyr Energy Tech Solutions Pvt Ltd | Confidential