AMPYR ENERGY

BESS Multi-Market Optimisation

Algorithm Validation Document

With Worked Examples from January 2026 Data

Prepared for Business Expert Validation

Asset: Northwold Solar Farm BESS (8.4 MWh / 4.2 MW import / 7.5 MW export)

Aggregator: GridBeyond

Period: January 2026 (31 days, 1,488 half-hourly periods)

Confidential - Project Lazarus | Version 1.0 | March 2026

# Table of Contents

# 1. What the Algorithm Does

The optimisation algorithm answers a simple question: given perfect knowledge of market prices for an entire day, what is the maximum revenue the battery could have earned?

This is a hindsight analysis (not a forecast). It shows the theoretical ceiling that a perfect trading strategy could achieve, allowing us to measure how well GridBeyond actually performed.

## 1.1 The Decision

Every day, the algorithm makes one binary decision:

Should the battery trade in wholesale/balancing markets (Multi-Market), or stay in frequency response (SFFR)?

It calculates the total revenue for each option and picks the higher one.

## 1.2 The Three Strategies Computed

| Strategy | Markets Used | Switching | Purpose |
| --- | --- | --- | --- |
| Strategy 1: EPEX Daily | EPEX only | Whole day: SFFR or EPEX | Simple baseline - what if we only traded EPEX? |
| Strategy 2: EPEX EFA | EPEX only | Per 2-hour EFA block | Can we do better by switching between SFFR and EPEX within a day? |
| Strategy 3: Multi-Market | EPEX + ISEM + SSP + SBP + DA_HH | Whole day: SFFR or all markets | Best possible with all markets - the benchmark we care about |

Strategy 3 (Multi-Market) is the primary benchmark. It represents the theoretical maximum revenue achievable within the asset's physical and warranty constraints.

# 2. Input Parameters

## 2.1 Battery Physical Constraints

| Parameter | Value | What It Means |
| --- | --- | --- |
| Max Charge (Import) | 4.2 MW | How fast the battery can absorb energy from the grid |
| Max Discharge (Export) | 7.5 MW | How fast the battery can push energy to the grid (asymmetric - faster out than in) |
| Usable Capacity | 8.4 MWh | Total energy the battery can store |
| Round-Trip Efficiency | 87% | For every 1 MWh put in, only 0.87 MWh comes out (13% lost as heat) |
| SOC Floor | 5% (0.42 MWh) | Never drain below this - protects battery cells from damage |
| SOC Ceiling | 95% (7.98 MWh) | Never charge above this - prevents thermal stress |
| Warranty Limit | 1.5 cycles/day | Maximum daily discharge throughput = 12.6 MWh = 1.5 x 8.4 |

## 2.2 Market Prices (5 Markets)

For each 30-minute period, the algorithm sees prices from 5 markets and picks the cheapest to buy from and the most expensive to sell into:

| Market | What It Is | Typical Range (Jan 26) |
| --- | --- | --- |
| EPEX Day Ahead | Wholesale market, prices set day before delivery | 50-200 GBP/MWh |
| GB-ISEM Intraday | Cross-border intraday auction (GB-Ireland) | 50-200 GBP/MWh |
| SSP (System Sell Price) | Price for being long in National Grid balancing | 50-750 GBP/MWh (spikes!) |
| SBP (System Buy Price) | Price for being short in National Grid balancing | 50-500 GBP/MWh |
| DA HH (Day Ahead Half-Hourly) | Half-hourly variant of day-ahead | 50-200 GBP/MWh |

Key insight: SSP can spike to extreme levels (750 GBP/MWh on Jan 5!) during system stress events. The multi-market algorithm captures these spikes by selling into SSP when it is the highest-priced market.

## 2.3 SFFR (Frequency Response)

SFFR is a contract where the battery commits to being available for grid frequency support. The battery earns a fixed price per MW of availability per hour, regardless of whether it actually needs to respond.

SFFR Revenue per period = Availability_MW x SFFR_Clearing_Price x 0.5 hours

The optimiser assumes 7.0 MW availability (full capacity).

Actual availability varies (average 6.81 MW in Jan 2026 due to SOC/operational constraints).

# 3. The Algorithm Step by Step

## 3.1 Overview

For each day in the month:

Step 1: Calculate SFFR value for the full day

SFFR_Daily = Sum over 48 periods of (7.0 MW x SFFR_Clearing_Price x 0.5 hours)

Step 2: For each period, find the cheapest market to buy from and the most expensive to sell into

Buy_Price[t] = min(EPEX[t], ISEM[t], SSP[t], SBP[t], DA_HH[t])

Sell_Price[t] = max(EPEX[t], ISEM[t], SSP[t], SBP[t], DA_HH[t])

Step 3: Solve the linear program - find the optimal charge/discharge schedule

Maximize: Sum of (Discharge[t] x Sell_Price[t] - Charge[t] x Buy_Price[t]) x 0.5

Subject to:

Battery physics: SoC[t] = SoC[t-1] + Charge[t] x 0.933 x 0.5 - Discharge[t] / 0.933 x 0.5

Charge limit:    0 <= Charge[t] <= 4.2 MW

Discharge limit: 0 <= Discharge[t] <= 7.5 MW

SOC bounds:      0.42 MWh <= SoC[t] <= 7.98 MWh

Warranty:        Sum(Discharge[t] x 0.5) <= 12.6 MWh per day

Step 4: Compare and choose

If SFFR_Daily > Multi_Market_Revenue:  choose SFFR (battery locked)

If Multi_Market_Revenue >= SFFR_Daily: choose Multi-Market (active dispatch)

Step 5: Carry SOC forward to the next day

Day N+1 starting SOC = Day N ending SOC

## 3.2 Efficiency Explained

The battery loses energy in both directions:

Charging:    1 MWh from grid --> battery stores 0.933 MWh (6.7% lost)

Discharging: 0.933 MWh from battery --> grid receives 0.87 MWh (another 6.7% lost)

Round trip:  1 MWh in --> 0.87 MWh out (13% total loss)

This means the sell price must be at least 15% higher than the buy price to break even on a round trip (1 / 0.87 = 1.149).

Break-even spread = Buy_Price x (1/0.87 - 1) = Buy_Price x 14.9%. At 100 GBP/MWh buy price, need 115 GBP/MWh sell price just to break even.

# 4. January 2026 Results Summary

## 4.1 Monthly Totals

| Metric | Value |
| --- | --- |
| Optimised Multi-Market Revenue (theoretical max) | 33,376 |
| Actual GridBeyond Revenue | 28,190 |
| Revenue Gap | 5,186 |
| Capture Rate | 84.5% |
| Days choosing SFFR | 22 out of 31 (71%) |
| Days choosing Multi-Market | 8 out of 31 (when price spikes made trading more valuable) |
| Total SFFR periods | 1,056 of 1,488 (71%) |
| Total active trading periods | 81 of 1,488 (5.4%) |
| Total idle periods (in trading days) | 303 of 1,488 |

## 4.2 Daily Revenue Ranking (Top 10 Days)

| Rank | Date | Strategy | Optimised Revenue | Key Driver |
| --- | --- | --- | --- | --- |
| 1 | Mon 5 Jan | Multi-Market | 5,222 | SSP spike to 750 at 19:00 - sold 1.65 MW into SSP |
| 2 | Thu 8 Jan | Multi-Market | 3,766 | SSP spike event - high balancing market spreads |
| 3 | Tue 6 Jan | Multi-Market | 2,551 | Continued high SSP spreads from 5th Jan event |
| 4 | Fri 2 Jan | Multi-Market | 1,115 | New Year period high demand/low wind |
| 5 | Thu 15 Jan | Multi-Market | 1,095 | Evening peak SSP spread |
| 6 | Mon 19 Jan | Multi-Market | 1,008 | High evening spreads |
| 7 | Wed 14 Jan | Multi-Market | 981 | Moderate SSP spreads |
| 8 | Tue 27 Jan | SFFR | 943 | High SFFR clearing prices (winter peak demand) |
| 9 | Sun 25 Jan | SFFR | 915 | High SFFR clearing prices |
| 10 | Wed 28 Jan | SFFR | 911 | High SFFR clearing prices |

The top 3 days (5th-8th Jan) generated 34.6% of the entire month's optimised revenue. This concentration highlights the importance of capturing price spike events.

# 5. Worked Example: Best Trading Day (5 January 2026)

This day generated 5,222 GBP in optimised revenue - the highest single day in January. The optimizer chose Multi-Market over SFFR. Let's walk through why and how.

## 5.1 The Decision: SFFR vs Multi-Market

SFFR option: Locking the battery in frequency response for the full day. SFFR clearing prices on Jan 5 ranged from 1.17 to 4.36 GBP/MW/h.

SFFR_Daily = Sum(7.0 MW x SFFR_Price[t] x 0.5) for 48 periods

~= 7.0 x average(2.84) x 0.5 x 48 = ~477 GBP

Multi-Market option: Active trading across all 5 markets. SSP spiked to 750 GBP/MWh at 19:00!

Multi_Market_Revenue = 5,222 GBP  (from LP solver)

Decision: Multi-Market wins (5,222 >> 477). The SSP spike alone made trading 10x more valuable than SFFR.

## 5.2 What the Algorithm Did (Hour by Hour)

Phase 1 - Charging (00:00-02:30): Bought energy from SSP at 68-70 GBP/MWh (cheapest market overnight). Charged from starting SOC up to 7.98 MWh (95% full).

| Time | Action | Net MWh | SOC (MWh) | Buy Price | Sell Price | Revenue |
| --- | --- | --- | --- | --- | --- | --- |
| 00:00 | Buy-SSP | -2.10 | 2.38 | 68.15 | 83.10 | -143 |
| 00:30 | Buy-SSP | -2.10 | 4.34 | 70.16 | 83.10 | -147 |
| 01:00 | Idle | 0.00 | 4.34 | 77.20 | 95.30 | 0 |
| 01:30 | Buy-SSP | -2.10 | 6.30 | 70.15 | 83.00 | -147 |
| 02:00 | Idle | 0.00 | 6.30 | 77.00 | 96.00 | 0 |
| 02:30 | Buy-SSP | -1.81 | 7.98 | 70.16 | 82.37 | -127 |

Charging cost: 564 GBP spent buying energy. SSP was the cheapest market at 68-70 GBP/MWh while EPEX was 82-83 GBP/MWh. The algorithm saved ~15% by buying from SSP instead of EPEX.

Phase 2 - Waiting (03:00-15:30): Battery sat fully charged at 7.98 MWh for 26 consecutive periods. Despite spreads of 20-70 GBP/MWh during this time, the algorithm held because it 'knew' (hindsight) that much larger spreads were coming.

This is the key advantage of hindsight optimization: a real-time trader might have been tempted to discharge at the 68 GBP/MWh spread at 15:30, but the optimizer held for the 640 GBP/MWh spread at 19:00.

Phase 3 - The Spike Discharge (16:00-19:00): SSP spiked to extreme levels. The optimizer sold aggressively:

| Time | Action | Net MWh | SOC (MWh) | Buy Price | Sell Price | Revenue |
| --- | --- | --- | --- | --- | --- | --- |
| 16:00 | Buy-ISEM | +1.65 | 5.92 | 157.79 | 433.30 | +1,294 |
| 16:30 | Sell-SSP | +3.75 | 1.90 | 175.16 | 426.65 | +1,600 |
| 17:00 | Buy-SSP | -2.10 | 3.86 | 82.77 | 179.30 | -174 |
| 17:30 | Sell-SSP | +1.35 | 2.41 | 174.08 | 368.87 | +498 |
| 18:30 | Buy-ISEM | -0.08 | 2.48 | 158.15 | 338.56 | -12 |
| 19:00 | Sell-SSP | +1.65 | 0.42 | 110.00 | 750.00 | +2,582 |

The 19:00 period alone generated 2,582 GBP. SSP hit 750 GBP/MWh (vs ISEM at 110). The battery discharged its last 1.65 MWh, reaching the minimum SOC of 0.42 MWh.

Phase 4 - Empty (19:30-23:30): Battery sat at minimum SOC (0.42 MWh). Even though spreads of 40-100 GBP/MWh existed, there was nothing left to sell and the warranty limit was reached.

## 5.3 Revenue Breakdown for Jan 5

| Component | Amount (GBP) | Explanation |
| --- | --- | --- |
| Charging cost (4 periods) | -564 | Bought 8.26 MWh at avg 68-70 via SSP |
| Discharge revenue (3 sell periods) | +5,974 | Sold into SSP during price spike (avg 408 GBP/MWh) |
| Recharge + small trades | -188 | Mid-day repositioning |
| NET TOTAL | 5,222 | Revenue after all costs |

## 5.4 How Did GridBeyond Actually Perform on Jan 5?

| Metric | Optimised | Actual (GridBeyond) | Gap |
| --- | --- | --- | --- |
| Total Revenue | 5,222 | 1,181 | 4,041 (77% missed) |
| Strategy | Multi-Market (aggressive SSP trading) | Mixed SFFR + IDA1 + EPEX | - |
| Revenue from SFFR | 0 (not chosen) | 666 | - |
| Revenue from IDA1 | 0 | 872 | - |
| Revenue from EPEX 30 DA | 0 | -324 (loss) | - |
| Imbalance | 0 | -34 (net penalty) | - |

GridBeyond earned 1,181 GBP vs the theoretical 5,222 GBP (22.6% capture). The main miss: GridBeyond did not sell into SSP during the 750 GBP/MWh spike at 19:00. This single missed period accounts for 2,582 GBP of the 4,041 GBP gap.

Important caveat: GridBeyond trades in real-time without knowledge of future prices. The SSP spike at 19:00 was unpredictable. The optimisation uses perfect hindsight - it is a benchmark, not an expectation.

# 6. Worked Example: SFFR Day (3 January 2026)

On this day, the algorithm chose SFFR over Multi-Market trading. Revenue: 670 GBP (all from frequency response, zero active trading).

## 6.1 The Decision

SFFR_Daily = Sum(7.0 x SFFR_Price[t] x 0.5) for 48 periods = 670 GBP

Multi_Market_Revenue (from LP solver)                      < 670 GBP

Result: SFFR wins. Battery stays locked in frequency response all day.

Why was SFFR better? The market spreads on Jan 3 were modest (4-50 GBP/MWh range), while SFFR clearing prices were decent (1.70-6.09 GBP/MW/h). There was no SSP spike event to make trading worthwhile.

## 6.2 SFFR Clearing Prices Through the Day

SFFR prices follow a predictable pattern: low overnight, rising through the morning, peaking in the late afternoon/evening, dropping at night.

| Time Block | SFFR Price (GBP/MW/h) | Avg Availability | Revenue/Period | Comment |
| --- | --- | --- | --- | --- |
| 00:00-02:30 (Night) | 1.70 | 7.4 MW | ~6.3/period | Low demand period |
| 03:00-06:30 (Early) | 1.30 | 7.4 MW | ~4.8/period | Lowest SFFR price band |
| 07:00-10:30 (Morning) | 3.96 | 6.6 MW | ~13.0/period | Morning peak begins |
| 11:00-14:30 (Midday) | 5.04 | 4.4 MW | ~11.2/period | High price, lower availability |
| 15:00-18:30 (Peak) | 6.09 | 7.4 MW | ~22.4/period | Highest SFFR prices of the day |
| 19:00-22:30 (Evening) | 5.51 | 7.4 MW | ~20.5/period | Still high evening demand |
| 23:00-23:30 (Night) | 2.99 | 7.3 MW | ~11.0/period | Dropping to night rates |

## 6.3 Optimiser vs Actual Comparison

| Metric | Optimiser | Actual GridBeyond |
| --- | --- | --- |
| Strategy | SFFR (full day) | SFFR (full day) |
| Assumed Availability | 7.0 MW (constant) | 6.81 MW (average, varies by period) |
| Total Revenue | 670 GBP | 638 GBP |
| Gap | 32 GBP (4.8%) | - |
| Gap Cause | - | Actual availability < assumed 7.0 MW |

On SFFR days, the gap between optimised and actual is small (4.8%) and entirely due to the availability assumption. The optimiser uses 7.0 MW; actual availability averages 6.81 MW due to SOC constraints and operational factors. This is not a strategy gap - GridBeyond made the right call on this day.

# 7. Understanding the Performance Gap

The total January gap is 5,186 GBP (optimised 33,376 vs actual 28,190). Where does it come from?

## 7.1 Gap Decomposition

| Source of Gap | Estimated GBP | % of Total Gap | Explanation |
| --- | --- | --- | --- |
| SSP spike events not captured | ~3,500 | 67% | GridBeyond was in SFFR or not positioned when SSP spiked (especially Jan 5, 8) |
| Sub-optimal market selection | ~800 | 15% | Actual trades used EPEX/IDA1 when ISEM or SSP offered better prices |
| SFFR availability gap | ~500 | 10% | Optimiser assumes 7.0 MW, actual averages 6.81 MW |
| Imbalance charges | ~386 | 7% | Actual incurred imbalance penalties not in optimised |
| TOTAL GAP | ~5,186 | 100% |  |

## 7.2 What This Means

The 84.5% capture rate is a reasonable result. The majority of the gap (67%) comes from unpredictable SSP spikes that no real-time trader could consistently capture. The algorithm's advantage is purely hindsight.

Key points for validation:

1. SFFR days show very small gaps (4-5%) - GridBeyond correctly identifies when SFFR is the right strategy.

2. The bulk of the gap concentrates in 2-3 spike days per month - this is expected for any non-clairvoyant trader.

3. The warranty constraint (1.5 cycles/day = 12.6 MWh discharge) limits how much can be extracted from spike events.

4. The algorithm respects all physical constraints - no revenue is assumed that violates SOC bounds, power limits, or efficiency losses.

# 8. Validation Checklist for Business Expert

Please confirm the following aspects of the algorithm are correct and reasonable:

## 8.1 Physical Constraints

| Check | Question | Expected Answer |
| --- | --- | --- |
| 1 | Is the max charge rate of 4.2 MW correct for Northwold? | Yes / No / Correct value: ___ |
| 2 | Is the max discharge rate of 7.5 MW correct? | Yes / No / Correct value: ___ |
| 3 | Is 8.4 MWh the correct usable capacity? | Yes / No / Correct value: ___ |
| 4 | Is 87% round-trip efficiency accurate? | Yes / No / Correct value: ___ |
| 5 | Are the 5%/95% SOC limits appropriate? | Yes / No / Correct limits: ___ |

## 8.2 Commercial Parameters

| Check | Question | Expected Answer |
| --- | --- | --- |
| 6 | Is 1.5 cycles/day the correct warranty limit? | Yes / No / Correct limit: ___ |
| 7 | Is 7.0 MW the right assumed SFFR availability? | Yes / No / Correct value: ___ |
| 8 | Should we use 7.0 MW or the actual varying availability for SFFR value? | 7.0 MW / Actual / Other: ___ |
| 9 | Are all 5 markets (EPEX, ISEM, SSP, SBP, DA_HH) accessible to GridBeyond? | Yes / Some not: ___ |
| 10 | Is the whole-day SFFR vs trading decision realistic, or should EFA blocks be the unit? | Whole day / EFA blocks / Other: ___ |

## 8.3 Algorithm Logic

| Check | Question | Expected Answer |
| --- | --- | --- |
| 11 | Is it correct that the battery cannot trade AND do SFFR in the same period? | Yes / No (can do both): ___ |
| 12 | Should imbalance costs be included in the optimisation or excluded? | Include / Exclude: ___ |
| 13 | Should the aggregator fee (5%) be applied to the optimised revenue? | Yes / No: ___ |
| 14 | Are there any other revenue streams not modelled (e.g., STOR, FFR dynamic)? | No / Yes: ___ |
| 15 | Is the assumption of perfect price foresight acceptable for benchmarking? | Yes / No: ___ |

## 8.4 Results Validation

| Check | Question | Expected Answer |
| --- | --- | --- |
| 16 | Does 84.5% capture rate seem reasonable for Jan 2026? | Yes / Too high / Too low |
| 17 | Is it fair that 22 of 31 days chose SFFR in Jan? (Winter = high SFFR prices) | Yes / Expected more trading / Less |
| 18 | Does the Jan 5 example (5,222 optimised vs 1,181 actual) look plausible? | Yes / Needs investigation: ___ |
| 19 | Should we track additional metrics (e.g., risk-adjusted return, Sharpe ratio)? | No / Yes: ___ |
| 20 | Is this benchmark appropriate for GridBeyond performance reviews? | Yes / Needs adjustments: ___ |

--- End of Document ---